## Quasi-Peak Graph
30 | Horizontal | Vertical
31.046 | 0 | 0
31 | 0 | 0
32.939 | 0 | 0
34.257 | 0 | 0
35.027 | 0 | 0
36 | 0 | 0
36.856 | 0 | 0
37 | 0 | 0
39.374 | 0 | 0
40.401 | 0 | 0
40 | 0 | 0
41 | 0 | 0
42.727 | 0 | 0
43 | 0 | 0
44 | 0 | 0
45 | 0 | 0
46 | 0 | 0
47 | 0 | 0
48 | 0 | 0
50.457 | 24.3 | 0
50.541 | 0 | 24.95
51 | 0 | 0
52.889 | 0 | 0
54.144 | 0 | 0
54 | 0 | 0
56.253 | 0 | 0
56 | 0 | 0
57.713 | 0 | 0
59.311 | 0 | 0
59 | 0 | 0
60 | 0 | 0
61.749 | 0 | 0
63.117 | 0 | 0
64.007 | 0 | 0
64.573 | 0 | 0
66.48 | 0 | 0
67.17 | 0 | 0
68.463 | 0 | 0
68.644 | 0 | 0
69 | 0 | 0
70.779 | 0 | 0
71.92 | 0 | 0
72 | 0 | 0
73.74 | 0 | 0
74 | 0 | 0
75 | 0 | 0
76 | 0 | 0
77 | 0 | 0
79.066 | 0 | 0
79 | 0 | 0
80.599 | 0 | 0
81.926 | 0 | 0
82.639 | 0 | 0
83 | 0 | 0
84 | 0 | 0
85 | 0 | 0
87.141 | 0 | 0
88.366 | 0 | 0
88 | 0 | 0
89 | 0 | 0
91.036 | 0 | 0
91 | 0 | 0
93.163 | 0 | 0
93.937 | 0 | 0
94 | 0 | 0
95 | 0 | 0
97.389 | 0 | 0
97 | 0 | 0
98 | 0 | 0
99.29 | 0 | 0
100 | 0 | 0
102.066 | 0 | 0
102.927 | 0 | 0
103 | 0 | 0
104.573 | 0 | 0
105 | 0 | 0
106.904 | 0 | 0
107.994 | 0 | 0
108 | 0 | 0
109 | 0 | 0
110 | 0 | 0
111.947 | 0 | 0
112 | 0 | 0
113 | 0 | 0
114 | 0 | 0
115 | 0 | 0
116 | 0 | 0
117 | 0 | 0
118 | 0 | 0
119.664 | 0 | 0
120 | 0 | 0
122.316 | 0 | 0
122.84 | 0 | 0
123 | 0 | 0
124 | 0 | 0
125.99 | 0 | 0
126 | 0 | 0
128.019 | 0 | 0
129.426 | 0 | 0
130.03 | 0 | 0
130 | 0 | 0
131 | 0 | 0
133.394 | 0 | 0
133.753 | 0 | 0
135.144 | 0 | 0
135.71 | 0 | 0
137.497 | 0 | 0
137.661 | 0 | 0
138.587 | 0 | 0
139.834 | 0 | 0
141.047 | 0 | 0
141 | 0 | 0
143.4 | 0 | 0
143.96 | 0 | 0
145.26 | 0 | 0
145.983 | 0 | 0
146.66 | 0 | 0
148.483 | 0 | 0
148.513 | 0 | 0
149.704 | 36.72 | 29.45
151.189 | 0 | 0
151.897 | 0 | 0
152.866 | 0 | 0
153 | 0 | 0
154 | 0 | 0
155 | 0 | 0
156 | 0 | 0
157 | 0 | 0
158 | 0 | 0
159.983 | 0 | 0
160 | 0 | 0
162.119 | 0 | 0
162 | 0 | 0
163 | 0 | 0
164 | 0 | 0
166.331 | 0 | 0
166 | 0 | 0
167 | 0 | 0
168 | 0 | 0
169.789 | 0 | 0
170 | 0 | 0
172.344 | 0 | 0
172 | 0 | 0
173 | 0 | 0
175.006 | 0 | 0
176.397 | 0 | 0
176 | 0 | 0
177 | 0 | 0
178 | 0 | 0
179.799 | 0 | 0
180 | 0 | 0
181 | 0 | 0
182 | 0 | 0
183 | 0 | 0
184 | 0 | 0
185.729 | 0 | 0
186.73 | 0 | 0
187 | 0 | 0
189.006 | 0 | 0
189.781 | 0 | 0
190 | 0 | 0
192.006 | 0 | 0
192.523 | 0 | 0
193 | 0 | 0
194.603 | 0 | 0
195 | 0 | 0
196 | 0 | 0
197 | 0 | 0
198 | 0 | 0
199.983 | 0 | 0
200 | 0 | 0
201 | 0 | 0
202 | 0 | 0
203 | 0 | 0
204 | 0 | 0
205 | 0 | 0
206 | 0 | 0
207.997 | 0 | 0
208 | 0 | 0
209.756 | 0 | 0
210 | 0 | 0
211 | 0 | 0
212 | 0 | 0
213 | 0 | 0
214 | 0 | 0
216.047 | 0 | 0
216 | 0 | 0
217 | 0 | 0
218 | 0 | 0
219.749 | 0 | 0
220.724 | 0 | 0
221 | 0 | 0
222.866 | 0 | 0
223.989 | 35.85 | 0
224 | 0 | 0
225 | 0 | 0
226.804 | 0 | 0
228.314 | 0 | 0
229.17 | 0 | 0
229 | 0 | 0
231.006 | 0 | 0
231 | 0 | 0
232 | 0 | 0
233 | 0 | 0
234 | 0 | 0
236.009 | 0 | 0
236 | 0 | 0
238.059 | 0 | 0
238 | 0 | 0
240.024 | 0 | 0
240 | 0 | 0
241 | 0 | 0
243.001 | 0 | 0
243 | 0 | 0
244 | 0 | 0
246.147 | 0 | 0
247.5 | 0 | 0
247 | 0 | 0
248 | 0 | 0
250.006 | 0 | 0
250 | 0 | 0
251 | 0 | 0
252 | 0 | 0
253 | 0 | 0
254 | 0 | 0
256 | 37.35 | 0
257.489 | 0 | 0
257 | 0 | 0
258 | 0 | 0
259.697 | 0 | 0
260 | 0 | 0
261 | 0 | 0
262 | 0 | 0
263 | 0 | 0
264 | 0 | 0
266.371 | 0 | 0
267.34 | 0 | 0
267 | 0 | 0
268 | 0 | 0
269.691 | 0 | 0
270 | 0 | 0
271.976 | 0 | 32.65
273.247 | 0 | 0
274.076 | 0 | 0
274 | 0 | 0
275 | 0 | 0
277.153 | 0 | 0
277 | 0 | 0
278 | 0 | 0
280.013 | 0 | 0
280 | 0 | 0
281 | 0 | 0
282 | 0 | 0
283 | 0 | 0
284 | 0 | 0
286.016 | 0 | 0
286.539 | 0 | 0
287.997 | 0 | 0
288 | 0 | 0
289.666 | 0 | 0
290 | 0 | 0
291.919 | 0 | 0
292 | 0 | 0
293 | 0 | 0
294 | 0 | 0
295 | 0 | 0
297.014 | 0 | 0
297 | 0 | 0
298 | 0 | 0
300.01 | 0 | 0
300 | 0 | 0
301 | 0 | 0
302 | 0 | 0
304.413 | 0 | 0
305.441 | 0 | 0
305.574 | 0 | 0
307.187 | 0 | 0
308.004 | 0 | 0
308 | 0 | 0
309.649 | 0 | 0
310 | 0 | 0
311 | 0 | 0
313.369 | 0 | 0
313 | 0 | 0
314 | 0 | 0
315 | 0 | 0
316 | 0 | 0
317 | 0 | 0
318 | 0 | 0
319.626 | 0 | 0
320 | 0 | 0
321 | 0 | 0
322 | 0 | 0
323 | 0 | 0
324 | 0 | 0
325 | 0 | 0
326 | 0 | 0
327.626 | 0 | 0
328 | 0 | 0
330.21 | 0 | 0
330 | 0 | 0
331.763 | 0 | 0
332 | 0 | 0
333 | 0 | 0
334 | 0 | 0
335.987 | 40.47 | 36.45
336 | 0 | 0
337 | 0 | 0
339.047 | 0 | 0
339.813 | 0 | 0
340 | 0 | 0
341 | 0 | 0
342 | 0 | 0
343 | 0 | 0
344 | 0 | 0
345 | 0 | 0
346 | 0 | 0
347.686 | 0 | 0
348 | 0 | 0
349.603 | 0 | 0
351.429 | 0 | 0
351 | 0 | 0
352 | 0 | 0
353 | 0 | 0
354 | 0 | 0
355.714 | 0 | 0
356.587 | 0 | 0
357 | 0 | 0
358 | 0 | 0
360.004 | 0 | 0
360 | 0 | 0
361 | 0 | 0
362 | 0 | 0
363 | 0 | 0
364 | 0 | 0
365 | 0 | 0
366 | 0 | 0
367.991 | 37.52 | 0
368 | 0 | 0
369.577 | 0 | 0
370.826 | 0 | 0
371 | 0 | 0
372 | 0 | 0
373 | 0 | 0
374.991 | 0 | 0
375 | 0 | 0
376 | 0 | 0
377 | 0 | 0
378.83 | 0 | 0
379.95 | 0 | 0
380.526 | 0 | 0
382.014 | 0 | 0
382 | 0 | 0
383.983 | 0 | 0
385.01 | 0 | 0
385 | 0 | 0
386 | 0 | 0
387 | 0 | 0
388 | 0 | 0
389.553 | 0 | 0
390.591 | 0 | 0
391 | 0 | 0
392 | 0 | 0
393 | 0 | 0
394 | 0 | 0
396.007 | 0 | 0
396 | 0 | 0
397 | 0 | 0
398 | 0 | 0
400.019 | 0 | 0
400 | 0 | 0
401 | 0 | 0
402 | 0 | 0
404.23 | 0 | 0
404 | 0 | 0
405 | 0 | 0
406 | 0 | 0
407.977 | 0 | 0
408.596 | 0 | 0
409 | 0 | 0
410 | 0 | 0
411 | 0 | 0
412 | 0 | 0
413 | 0 | 0
414 | 0 | 0
416.036 | 0 | 0
416 | 0 | 0
417 | 0 | 0
418 | 0 | 0
420.001 | 0 | 0
420 | 0 | 0
421 | 0 | 0
422 | 0 | 0
423 | 0 | 0
424 | 0 | 0
425 | 0 | 0
426 | 0 | 0
427 | 0 | 0
428 | 0 | 0
429 | 0 | 0
430 | 0 | 0
431.983 | 38.35 | 30.1
432.664 | 0 | 0
433 | 0 | 0
434 | 0 | 0
435 | 0 | 0
436 | 0 | 0
437 | 0 | 0
439.496 | 0 | 0
439 | 0 | 0
441.343 | 0 | 0
441.711 | 0 | 0
442 | 0 | 0
444.003 | 0 | 0
445.497 | 0 | 0
445.727 | 0 | 0
446 | 0 | 0
447.994 | 0 | 0
448 | 0 | 0
449 | 0 | 0
450 | 0 | 0
451.981 | 0 | 0
452 | 0 | 0
453 | 0 | 0
454 | 0 | 0
455 | 0 | 0
456 | 0 | 0
458.439 | 0 | 0
458 | 0 | 0
459 | 0 | 0
460 | 0 | 0
462.017 | 0 | 0
462 | 0 | 0
463.99 | 29.15 | 30.72
464 | 0 | 0
465 | 0 | 0
466 | 0 | 0
468 | 0 | 0
468.769 | 0 | 0
469 | 0 | 0
470 | 0 | 0
471 | 0 | 0
472 | 0 | 0
473 | 0 | 0
475.009 | 0 | 0
475 | 0 | 0
477.1 | 0 | 0
478.073 | 0 | 0
478 | 0 | 0
480.01 | 0 | 0
480 | 0 | 0
481.77 | 0 | 0
482.873 | 0 | 0
483 | 0 | 0
484 | 0 | 0
485 | 0 | 0
486.756 | 0 | 0
487 | 0 | 0
489.444 | 0 | 0
489 | 0 | 0
490 | 0 | 0
491.961 | 0 | 0
492 | 0 | 0
493 | 0 | 0
494 | 0 | 0
495.974 | 0 | 0
496 | 0 | 0
497 | 0 | 0
499.426 | 0 | 0
500.009 | 0 | 0
500 | 0 | 0
502.271 | 0 | 0
502 | 0 | 0
503.927 | 0 | 0
504 | 0 | 0
505 | 0 | 0
506 | 0 | 0
507 | 0 | 0
508.676 | 0 | 0
509 | 0 | 0
510 | 0 | 0
511.999 | 0 | 0
512 | 0 | 0
513 | 0 | 0
514 | 0 | 0
515.996 | 0 | 0
516 | 0 | 0
517 | 0 | 0
518 | 0 | 0
519.8 | 0 | 0
520 | 0 | 0
521 | 0 | 0
522 | 0 | 0
524.141 | 0 | 0
525.013 | 0 | 0
525.636 | 0 | 0
526 | 0 | 0
527.991 | 0 | 0
528 | 0 | 0
529 | 0 | 0
530 | 0 | 0
531 | 0 | 0
532 | 0 | 0
533 | 0 | 0
534 | 0 | 0
535 | 0 | 0
536 | 0 | 0
537 | 0 | 0
539.017 | 0 | 0
539 | 0 | 0
540 | 0 | 0
541 | 0 | 0
542 | 0 | 0
544.044 | 0 | 0
544 | 0 | 0
545 | 0 | 0
546 | 0 | 0
547 | 0 | 0
549.019 | 0 | 0
550.027 | 0 | 0
550 | 0 | 0
551.994 | 0 | 0
552 | 0 | 0
553 | 0 | 0
554 | 0 | 0
555 | 0 | 0
557.227 | 0 | 0
557 | 0 | 0
559.349 | 0 | 0
559.973 | 0 | 0
561.47 | 0 | 0
562.134 | 0 | 0
562.671 | 0 | 0
563.954 | 0 | 0
565.374 | 0 | 0
565 | 0 | 0
566 | 0 | 0
567 | 0 | 0
568 | 0 | 0
569 | 0 | 0
570 | 0 | 0
571 | 0 | 0
572 | 0 | 0
573 | 0 | 0
574.996 | 0 | 0
575.987 | 0 | 0
576 | 0 | 0
577.53 | 0 | 0
578 | 0 | 0
579 | 0 | 0
580 | 0 | 0
581 | 0 | 0
582 | 0 | 0
583 | 0 | 0
584 | 0 | 0
585 | 0 | 0
586 | 0 | 0
587 | 0 | 0
589.321 | 0 | 0
589 | 0 | 0
590 | 0 | 0
591 | 0 | 0
592 | 0 | 0
594 | 0 | 0
595.343 | 0 | 0
595 | 0 | 0
596 | 0 | 0
598.471 | 0 | 0
598 | 0 | 0
599.984 | 0 | 0
600 | 0 | 0
601 | 0 | 0
602 | 0 | 0
603 | 0 | 0
604 | 0 | 0
605 | 0 | 0
606 | 0 | 0
608.047 | 0 | 0
608 | 0 | 0
609 | 0 | 0
610 | 0 | 0
612.414 | 0 | 0
612 | 0 | 0
614.313 | 0 | 0
614 | 0 | 0
615 | 0 | 0
616 | 0 | 0
617 | 0 | 0
619.241 | 0 | 0
619 | 0 | 0
620 | 0 | 0
621 | 0 | 0
622 | 0 | 0
623.986 | 0 | 0
624.996 | 0 | 0
625 | 0 | 0
626 | 0 | 0
627 | 0 | 0
628 | 0 | 0
629 | 0 | 0
631.371 | 0 | 0
631 | 0 | 0
632 | 0 | 0
633 | 0 | 0
634 | 0 | 0
635 | 0 | 0
636 | 0 | 0
637 | 0 | 0
639.264 | 0 | 0
640.009 | 0 | 0
640 | 0 | 0
641 | 0 | 0
642 | 0 | 0
644.309 | 0 | 0
644 | 0 | 0
646.487 | 0 | 0
647.204 | 0 | 0
648.043 | 0 | 0
648.989 | 0 | 0
649.936 | 0 | 0
650 | 0 | 0
651.913 | 0 | 0
652 | 0 | 0
653 | 0 | 0
654.526 | 0 | 0
655 | 0 | 0
656 | 0 | 0
657 | 0 | 0
658 | 0 | 0
659 | 0 | 0
660 | 0 | 0
661 | 0 | 0
662.971 | 0 | 0
664.264 | 0 | 0
665.41 | 0 | 0
666.481 | 0 | 0
666 | 0 | 0
668.26 | 0 | 0
668.591 | 0 | 0
670.081 | 0 | 0
670 | 0 | 0
672.043 | 0 | 0
672 | 0 | 0
673 | 0 | 0
674 | 0 | 0
675 | 0 | 0
676 | 0 | 0
677 | 0 | 0
678 | 0 | 0
680.447 | 0 | 0
680.949 | 0 | 0
681 | 0 | 0
682 | 0 | 0
683 | 0 | 0
684.51 | 0 | 0
685 | 0 | 0
686 | 0 | 0
687 | 0 | 0
688 | 0 | 0
689 | 0 | 0
690 | 0 | 0
691 | 0 | 0
693.233 | 0 | 0
693 | 0 | 0
694.696 | 0 | 0
695.991 | 0 | 0
696 | 0 | 0
697 | 0 | 0
698 | 0 | 0
699.99 | 0 | 0
700 | 0 | 0
701 | 0 | 0
702 | 0 | 0
704.004 | 0 | 0
704 | 0 | 0
705.709 | 0 | 0
706 | 0 | 0
707 | 0 | 0
708 | 0 | 0
709 | 0 | 0
710 | 0 | 0
712.09 | 0 | 0
712 | 0 | 0
713.69 | 0 | 0
714.793 | 0 | 0
715 | 0 | 0
717.443 | 0 | 0
718.251 | 0 | 0
719.499 | 0 | 0
720.003 | 0 | 0
720 | 0 | 0
721 | 0 | 0
722 | 0 | 0
723 | 0 | 0
724 | 0 | 0
725 | 0 | 0
727.369 | 0 | 0
727 | 0 | 0
728 | 0 | 0
729 | 0 | 0
730 | 0 | 0
731.513 | #N/A | #N/A
732.964 | #N/A | #N/A
733 | #N/A | #N/A
734 | #N/A | #N/A
735 | #N/A | #N/A
736 | #N/A | #N/A
737 | #N/A | #N/A
738 | #N/A | #N/A
739 | #N/A | #N/A
740 | #N/A | #N/A
742.499 | #N/A | #N/A
743.343 | #N/A | #N/A
743 | #N/A | #N/A
744 | #N/A | #N/A
745 | #N/A | #N/A
746 | #N/A | #N/A
747 | #N/A | #N/A
748 | #N/A | #N/A
749.997 | #N/A | #N/A
750 | #N/A | #N/A
751 | #N/A | #N/A
753.081 | #N/A | #N/A
753 | #N/A | #N/A
755.214 | #N/A | #N/A
756.044 | #N/A | #N/A
756 | #N/A | #N/A
757 | #N/A | #N/A
758 | #N/A | #N/A
759 | #N/A | #N/A
760 | #N/A | #N/A
761 | #N/A | #N/A
762 | #N/A | #N/A
763 | #N/A | #N/A
764 | #N/A | #N/A
765 | #N/A | #N/A
766 | #N/A | #N/A
768 | #N/A | #N/A
768 | #N/A | #N/A
770.03 | #N/A | #N/A
770 | #N/A | #N/A
771 | #N/A | #N/A
772 | #N/A | #N/A
773 | #N/A | #N/A
774 | #N/A | #N/A
775 | #N/A | #N/A
776 | #N/A | #N/A
777 | #N/A | #N/A
778 | #N/A | #N/A
779.977 | #N/A | #N/A
780 | #N/A | #N/A
781 | #N/A | #N/A
783.009 | #N/A | #N/A
784.161 | #N/A | #N/A
784 | #N/A | #N/A
785 | #N/A | #N/A
786 | #N/A | #N/A
787 | #N/A | #N/A
788 | #N/A | #N/A
790.124 | #N/A | #N/A
790 | #N/A | #N/A
791.979 | #N/A | #N/A
792 | #N/A | #N/A
793 | #N/A | #N/A
794 | #N/A | #N/A
795 | #N/A | #N/A
796 | #N/A | #N/A
797 | #N/A | #N/A
798 | #N/A | #N/A
800.004 | #N/A | #N/A
800 | #N/A | #N/A
801 | #N/A | #N/A
802 | #N/A | #N/A
803.551 | #N/A | #N/A
804 | #N/A | #N/A
805 | #N/A | #N/A
807.22 | #N/A | #N/A
807 | #N/A | #N/A
808.54 | #N/A | #N/A
809.983 | #N/A | #N/A
811.209 | #N/A | #N/A
811 | #N/A | #N/A
812 | #N/A | #N/A
813 | #N/A | #N/A
814 | #N/A | #N/A
815 | #N/A | #N/A
817.181 | #N/A | #N/A
817 | #N/A | #N/A
818 | #N/A | #N/A
819 | #N/A | #N/A
820 | #N/A | #N/A
821 | #N/A | #N/A
822 | #N/A | #N/A
823 | #N/A | #N/A
824 | #N/A | #N/A
825 | #N/A | #N/A
826 | #N/A | #N/A
827.87 | #N/A | #N/A
828 | #N/A | #N/A
829 | #N/A | #N/A
830 | #N/A | #N/A
832 | #N/A | #N/A
832.767 | #N/A | #N/A
833.519 | #N/A | #N/A
834 | #N/A | #N/A
836.049 | #N/A | #N/A
837.457 | #N/A | #N/A
838.08 | #N/A | #N/A
838.913 | #N/A | #N/A
839.873 | #N/A | #N/A
840 | #N/A | #N/A
841 | #N/A | #N/A
843.316 | #N/A | 24.3
844.253 | #N/A | #N/A
844 | #N/A | #N/A
845 | #N/A | #N/A
846 | #N/A | #N/A
847 | #N/A | #N/A
848 | #N/A | #N/A
849 | #N/A | #N/A
850 | #N/A | #N/A
851 | #N/A | #N/A
852 | #N/A | #N/A
854.317 | #N/A | #N/A
854 | #N/A | #N/A
855 | #N/A | #N/A
856 | #N/A | #N/A
857 | #N/A | #N/A
858 | #N/A | #N/A
859 | #N/A | #N/A
860 | #N/A | #N/A
862.404 | #N/A | #N/A
863.174 | #N/A | #N/A
863 | #N/A | #N/A
864 | #N/A | #N/A
865 | #N/A | #N/A
866 | #N/A | #N/A
867.83 | #N/A | #N/A
868 | #N/A | #N/A
869 | #N/A | #N/A
870 | #N/A | #N/A
871 | #N/A | #N/A
872 | #N/A | #N/A
873 | #N/A | #N/A
874.996 | #N/A | #N/A
875.984 | #N/A | #N/A
876 | #N/A | #N/A
877 | #N/A | #N/A
878 | #N/A | #N/A
879.996 | #N/A | #N/A
880 | #N/A | #N/A
882.146 | #N/A | #N/A
882 | #N/A | #N/A
883 | #N/A | #N/A
884 | #N/A | #N/A
885 | #N/A | #N/A
886 | #N/A | #N/A
888.027 | #N/A | #N/A
888 | #N/A | #N/A
889 | #N/A | #N/A
891.434 | #N/A | #N/A
891 | #N/A | #N/A
892 | #N/A | #N/A
893 | #N/A | #N/A
894 | #N/A | #N/A
896 | #N/A | #N/A
896 | #N/A | #N/A
898.407 | #N/A | #N/A
898 | #N/A | #N/A
900.02 | #N/A | #N/A
900 | #N/A | #N/A
901.897 | #N/A | #N/A
902 | #N/A | #N/A
903 | #N/A | #N/A
904 | #N/A | #N/A
905 | #N/A | #N/A
906 | #N/A | #N/A
908.133 | #N/A | #N/A
908 | #N/A | #N/A
909 | #N/A | #N/A
910 | #N/A | #N/A
911.987 | #N/A | #N/A
912 | #N/A | #N/A
913 | #N/A | #N/A
915.157 | #N/A | #N/A
915 | #N/A | #N/A
916 | #N/A | #N/A
917 | #N/A | #N/A
918 | #N/A | #N/A
919 | #N/A | #N/A
920 | #N/A | #N/A
921 | #N/A | #N/A
922 | #N/A | #N/A
923 | #N/A | #N/A
924 | #N/A | #N/A
925 | #N/A | #N/A
926 | #N/A | #N/A
928.149 | #N/A | #N/A
928.596 | #N/A | #N/A
929 | #N/A | #N/A
930 | #N/A | #N/A
931.784 | #N/A | #N/A
932 | #N/A | #N/A
933 | #N/A | #N/A
934 | #N/A | #N/A
936.021 | #N/A | #N/A
937.496 | #N/A | #N/A
937.504 | #N/A | #N/A
939.01 | #N/A | #N/A
939 | #N/A | #N/A
940 | #N/A | #N/A
941 | #N/A | #N/A
942 | #N/A | #N/A
943 | #N/A | #N/A
944.899 | #N/A | #N/A
945 | #N/A | #N/A
946 | #N/A | #N/A
947 | #N/A | #N/A
948 | #N/A | #N/A
949 | #N/A | #N/A
950 | #N/A | #N/A
952.187 | #N/A | #N/A
952.766 | #N/A | #N/A
953 | #N/A | #N/A
954.997 | #N/A | #N/A
955 | #N/A | #N/A
956 | #N/A | #N/A
957 | #N/A | #N/A
958 | #N/A | #N/A
959.981 | #N/A | #N/A
960 | #N/A | #N/A
961 | #N/A | #N/A
962.549 | #N/A | #N/A
963 | #N/A | #N/A
965.249 | #N/A | #N/A
965 | #N/A | #N/A
966.593 | #N/A | #N/A
967 | #N/A | #N/A
968 | #N/A | #N/A
969.826 | #N/A | #N/A
970.736 | #N/A | #N/A
971.877 | #N/A | #N/A
972 | #N/A | #N/A
974.289 | #N/A | #N/A
974 | #N/A | #N/A
975 | #N/A | #N/A
977.359 | #N/A | #N/A
977.954 | #N/A | #N/A
978.804 | #N/A | #N/A
979 | #N/A | #N/A
980 | #N/A | #N/A
981.856 | #N/A | #N/A
983.157 | #N/A | #N/A
983 | #N/A | #N/A
984 | #N/A | #N/A
985 | #N/A | #N/A
986 | #N/A | #N/A
987 | #N/A | #N/A
988 | #N/A | #N/A
989 | #N/A | #N/A
991.113 | #N/A | #N/A
991 | #N/A | #N/A
992 | #N/A | #N/A
993.927 | #N/A | #N/A
994 | #N/A | #N/A
995.587 | #N/A | #N/A
996 | #N/A | #N/A
997 | #N/A | #N/A
998 | #N/A | #N/A
999.653 | #N/A | #N/A
1000 | #N/A | #N/A

## Correction Factors
Frequecy(MHz) | Total Loss/gain-V 3 Meters | Total Loss/gain-H 3 Meters | Total Loss/gain-V 10 Meters | Total Loss/gain-H 10 Meters | Antenna Factors(dB) | Cable loss(dB) | Amplifier Gain(dB) | Groundplane(dB)-V 3 M | Groundplane(dB)-H 3 M | Groundplane(dB)-V 10 M | Groundplane(dB)-H 10 M | sheet 2
30 | -4.7081 | -12.349 | -5.7596 | 7.299 | 19 | 0.001 | -28.49 | 4.7809 | -2.86 | 3.7294 | 16.788
40 | -10.9832 | -16.4647 | -10.9679 | -0.53789 | 13.6 | 0.001 | -28.89 | 4.3058 | -1.1757 | 4.3211 | 14.7511
50 | -16.2486 | -20.0333 | -15.6994 | -7.0819 | 8.6 | 0.001 | -28.8 | 3.9504 | 0.16567 | 4.4996 | 13.1171
60 | -15.7435 | -16.1534 | -14.779 | -5.6276 | 5.9 | 0.001 | -29.29 | 7.6455 | 7.2356 | 8.61 | 17.7614
70 | -15.1435 | -14.7054 | -14.1435 | -6.1698 | 6.4 | 0.001 | -29.19 | 7.6455 | 8.0836 | 8.6455 | 16.6192 |  | 0
80 | -14.6535 | -19.5467 | -13.549 | -12.6522 | 7.3 | 0.001 | -29.6 | 7.6455 | 2.7523 | 8.75 | 9.6468 |  | 0
90 | -18.6504 | -18.0817 | -16.553 | -12.5455 | 8.6 | 0.001 | -29.96 | 2.7086 | 3.2773 | 4.806 | 8.8135 |  | 0
100 | -16.4853 | -15.1406 | -13.9722 | -10.7322 | 10.2 | 0.001 | -29.03 | 2.3437 | 3.6884 | 4.8568 | 8.0968 |  | 0
120 | -17.4342 | -14.6656 | -13.9712 | -11.9779 | 11.5 | 0.001 | -30.43 | 1.4948 | 4.2634 | 4.9578 | 6.9511 |  | 0
150 | -18.9075 | -14.0076 | -13.6346 | -12.9545 | 11 | 0.001 | -29.76 | -0.14853 | 4.7514 | 5.1244 | 5.8045 |  | 0
170 | -21.8139 | -15.3274 | -15.0175 | -14.9167 | 9.8 | 0.001 | -30.07 | -1.5449 | 4.9416 | 5.2515 | 5.3523 |  | 0
200 | -21.9676 | -15.9862 | -15.638 | -16.0509 | 9.4 | 0.001 | -30.51 | -0.85864 | 5.1228 | 5.471 | 5.0581 |  | 0
250 | -16.3109 | -12.3588 | -11.7056 | -12.7782 | 12.2 | 0.001 | -29.83 | 1.3181 | 5.2702 | 5.9234 | 4.8508 |  | 0
300 | -14.047 | -11.7445 | -9.9719 | -11.7315 | 12.9 | 0.001 | -29.4 | 2.452 | 4.7545 | 6.5271 | 4.7675 |  | 0
500 | -7.2392 | -6.3653 | -5.4221 | -6.5755 | 18.3 | 0.001 | -29.47 | 3.9298 | 4.8037 | 5.7469 | 4.5935 |  | 0
600 | -8.3406 | -5.5591 | -5.2319 | -6.0562 | 18.9 | 0.001 | -29.52 | 2.2784 | 5.0599 | 5.3871 | 4.5628 |  | 0
800 | -2.9583 | -1.7241 | -1.4141 | -1.8791 | 21.8 | 0.001 | -28.25 | 3.4907 | 4.7249 | 5.0349 | 4.5699 |  | 0
1000 | 1.3646 | 2.5004 | 2.2916 | 2.1334 | 24.9 | 0.001 | -27.47 | 3.9336 | 5.0694 | 4.8606 | 4.7034 |  | 0
0
0
0
Note on F2: Peter Berquist: Liberty Labs Calibration certification-9-23-2014 BiLog Antenna
Note on I5: Peter Berquist: These values were made 4 dB high to account for NSA being high by 4
Note on I6: Peter Berquist: These values were made 4 dB high to account for NSA being high by 4
Note on I7: Peter Berquist: These values were made 4 dB high to account for NSA being high by 4
Note on J5: Peter Berquist: These values were made 6 dB high to account for NSA being high by 6
Note on J6: Peter Berquist: These values were made 6 dB high to account for NSA being high by 6
Note on I1: Peter Berquist: The nominal correction for the groundplane reflection is said to be 6 dB. This is not true. The real correction is the difference between Free-space NSA and normal NSA. This reflects the difference in EDMax. Vertical and horizontal will be different, thus the separate correction.
Note on J1: Peter Berquist: The nominal correction for the groundplane reflection is said to be 6 dB. This is not true. The real correction is the difference between Free-space NSA and normal NSA. This reflects the difference in EDMax. Vertical and horizontal will be different, thus the separate correction.
Note on K1: Peter Berquist: 10 Semi-anechoic
Note on H2: Dennis King: RF Bay amplifier gain measured on 12-2-2014 this included the cables.

## Emission-Prescan
Frequecy | Horizontal-Prescan | Vertical-Prescan |  | CISPR-A@3M | Sheet 3
30 | 15.9526 | 23.1347 | 30 | 50
31.3857 | 13.9576 | 23.9327 | 230 | 50
32.7714 | 14.3566 | 23.9327 | 230 | 57
34.1571 | 13.7581 | 23.1347 | 1000 | 57
35.5429 | 13.3591 | 21.1397
36.9286 | 12.7606 | 20.3416
38.3143 | 11.9626 | 18.7456
39.7 | 11.3641 | 17.5486
41.0857 | 10.7656 | 16.7506
42.4714 | 9.9676 | 14.7556
43.8571 | 9.3691 | 15.5536
45.2429 | 9.7681 | 17.9476
46.6286 | 14.3566 | 17.1496
48.0143 | 15.9526 | 18.3466
49.4 | 21.1397 | 23.1347
50.7857 | 25.1297 | 26.7257
52.1714 | 25.7282 | 26.9252
53.5571 | 26.3267 | 26.9252
54.9429 | 22.3367 | 17.3491
56.3286 | 21.3392 | 15.9526
57.7143 | 21.7382 | 15.7531
59.1 | 17.3491 | 14.5561
60.4857 | 16.7506 | 13.9576
61.8714 | 16.9501 | 13.3591
63.2571 | 14.9551 | 13.5586
64.6429 | 17.5486 | 15.1546
66.0286 | 17.7481 | 15.3541
67.4143 | 17.7481 | 13.5586
68.8 | 15.1546 | 14.3566
70.1857 | 15.7531 | 15.5536
71.5714 | 15.1546 | 15.7531
72.9571 | 14.5561 | 15.1546
74.3429 | 13.9576 | 15.3541
75.7286 | 14.3566 | 15.3541
77.1143 | 14.9551 | 15.7531
78.5 | 14.1571 | 17.1496
79.8857 | 13.1596 | 17.3491
81.2714 | 12.3616 | 16.1521
82.6571 | 13.5586 | 18.1471
84.0429 | 14.7556 | 17.5486
85.4286 | 16.5511 | 17.3491
86.8143 | 16.5511 | 16.7506
88.2 | 15.3541 | 15.1546
89.5857 | 15.9526 | 14.5561
90.9714 | 16.3516 | 14.9551
92.3571 | 16.7506 | 14.7556
93.7429 | 15.9526 | 14.3566
95.1286 | 16.3516 | 16.3516
96.5143 | 28.1222 | 24.3317
97.9 | 28.5212 | 24.7307
99.2857 | 25.3292 | 19.7431
100.6714 | 18.9451 | 18.9451
102.0571 | 19.1446 | 15.9526
103.4429 | 17.9476 | 15.3541
104.8286 | 16.5511 | 15.1546
106.2143 | 15.9526 | 13.9576
107.6 | 16.5511 | 13.9576
108.9857 | 17.7481 | 15.3541
110.3714 | 19.7431 | 15.3541
111.7571 | 22.3367 | 17.1496
113.1429 | 25.9277 | 21.7382
114.5286 | 26.1272 | 21.5387
115.9143 | 22.9352 | 18.5461
117.3 | 23.9327 | 19.3441
118.6857 | 24.1322 | 19.1446
120.0714 | 22.9352 | 17.7481
121.4571 | 22.9352 | 15.7531
122.8429 | 23.9327 | 15.1546
124.2286 | 23.9327 | 14.9551
125.6143 | 20.3416 | 14.7556
127 | 23.3342 | 15.3541
128.3857 | 24.1322 | 24.5312
129.7714 | 24.1322 | 24.5312
131.1571 | 24.5312 | 17.7481
132.5429 | 24.5312 | 17.9476
133.9286 | 23.7332 | 17.9476
135.3143 | 24.1322 | 17.1496
136.7 | 24.1322 | 17.7481
138.0857 | 24.9302 | 17.7481
139.4714 | 26.1272 | 18.9451
140.8571 | 27.9227 | 18.9451
142.2429 | 28.7207 | 18.9451
143.6286 | 29.3192 | 18.7456
145.0143 | 30.9152 | 23.7332
146.4 | 30.9152 | 23.7332
147.7857 | 28.5212 | 18.9451
149.1714 | 28.1222 | 18.9451
150.5571 | 35.9027 | 28.9202
151.9429 | 35.9027 | 28.7207
153.3286 | 27.3242 | 21.5387
154.7143 | 27.3242 | 21.3392
156.1 | 27.5237 | 20.1421
157.4857 | 27.5237 | 19.7431
158.8714 | 26.3267 | 20.7406
160.2571 | 33.1097 | 28.3217
161.6429 | 33.1097 | 28.1222
163.0286 | 26.7257 | 20.9401
164.4143 | 26.9252 | 22.3367
165.8 | 26.9252 | 22.1372
167.1857 | 26.1272 | 21.9377
168.5714 | 25.9277 | 21.1397
169.9571 | 26.7257 | 22.7357
171.3429 | 26.7257 | 23.3342
172.7286 | 26.7257 | 23.9327
174.1143 | 26.7257 | 24.1322
175.5 | 27.1247 | 25.9277
176.8857 | 30.1172 | 25.9277
178.2714 | 30.1172 | 25.3292
179.6571 | 27.9227 | 23.3342
181.0429 | 28.5212 | 22.1372
182.4286 | 28.5212 | 22.5362
183.8143 | 27.3242 | 22.5362
185.2 | 26.3267 | 21.9377
186.5857 | 26.3267 | 21.9377
187.9714 | 26.1272 | 19.7431
189.3571 | 25.9277 | 19.7431
190.7429 | 25.7282 | 18.9451
192.1286 | 27.7232 | 21.9377
193.5143 | 27.7232 | 21.9377
194.9 | 24.1322 | 13.5586
196.2857 | 24.1322 | 13.9576
197.6714 | 22.7357 | 13.9576
199.0571 | 22.7357 | 13.3591
200.4429 | 22.9352 | 13.1596
201.8286 | 23.5337 | 12.9601
203.2143 | 23.7332 | 13.9576
204.6 | 22.9352 | 14.1571
205.9857 | 22.9352 | 14.9551
207.3714 | 22.3367 | 17.3491
208.7571 | 25.1297 | 22.5362
210.1429 | 25.1297 | 22.3367
211.5286 | 19.1446 | 14.5561
212.9143 | 21.9377 | 14.7556
214.3 | 26.5262 | 15.5536
215.6857 | 28.5212 | 17.1496
217.0714 | 29.1197 | 17.3491
218.4571 | 29.3192 | 16.7506
219.8429 | 25.7282 | 15.9526
221.2286 | 25.5287 | 16.1521
222.6143 | 25.5287 | 16.9501
224 | 32.1122 | 23.1347
225.3857 | 32.1122 | 23.3342
226.7714 | 24.1322 | 16.7506
228.1571 | 23.7332 | 16.7506
229.5429 | 24.1322 | 17.7481
230.9286 | 24.3317 | 17.9476
232.3143 | 24.3317 | 17.7481
233.7 | 23.7332 | 17.9476
235.0857 | 24.9302 | 16.3516
236.4714 | 24.9302 | 16.5511
237.8571 | 24.9302 | 16.3516
239.2429 | 27.3242 | 24.1322
240.6286 | 30.7157 | 23.9327
242.0143 | 30.7157 | 24.1322
243.4 | 21.7382 | 16.9501
244.7857 | 21.7382 | 17.7481
246.1714 | 21.5387 | 17.7481
247.5571 | 21.5387 | 17.7481
248.9429 | 20.9401 | 18.3466
250.3286 | 21.9377 | 18.5461
251.7143 | 21.9377 | 17.9476
253.1 | 24.1322 | 18.1471
254.4857 | 24.1322 | 16.7506
255.8714 | 35.9027 | 29.3192
257.2571 | 35.9027 | 29.3192
258.6429 | 22.9352 | 20.1421
260.0286 | 26.1272 | 20.1421
261.4143 | 26.7257 | 19.5436
262.8 | 27.3242 | 19.9426
264.1857 | 27.3242 | 21.7382
265.5714 | 25.7282 | 22.3367
266.9571 | 28.1222 | 22.3367
268.3429 | 28.1222 | 22.5362
269.7286 | 28.1222 | 20.9401
271.1143 | 34.1072 | 29.9177
272.5 | 34.9052 | 30.1172
273.8857 | 34.9052 | 30.1172
275.2714 | 25.5287 | 18.9451
276.6571 | 26.5262 | 19.9426
278.0429 | 27.7232 | 20.1421
279.4286 | 28.9202 | 22.3367
280.8143 | 29.5187 | 23.1347
282.2 | 29.7182 | 23.1347
283.5857 | 30.1172 | 23.3342
284.9714 | 30.9152 | 24.9302
286.3571 | 30.9152 | 25.3292
287.7429 | 35.3042 | 30.7157
289.1286 | 35.3042 | 30.7157
290.5143 | 30.3167 | 25.1297
291.9 | 29.1197 | 25.1297
293.2857 | 30.1172 | 25.3292
294.6714 | 30.1172 | 25.5287
296.0571 | 30.3167 | 24.3317
297.4429 | 30.3167 | 25.7282
298.8286 | 29.9177 | 26.3267
300.2143 | 30.3167 | 26.3267
301.6 | 30.3167 | 25.1297
302.9857 | 34.9052 | 28.9202
304.3714 | 34.7057 | 28.9202
305.7571 | 34.7057 | 28.9202
307.1429 | 30.3167 | 23.7332
308.5286 | 30.7157 | 24.5312
309.9143 | 30.7157 | 24.5312
311.3 | 30.9152 | 24.3317
312.6857 | 30.9152 | 24.1322
314.0714 | 27.7232 | 23.9327
315.4571 | 27.1247 | 23.3342
316.8429 | 27.1247 | 24.7307
318.2286 | 27.7232 | 25.1297
319.6143 | 33.9077 | 28.5212
321 | 33.9077 | 28.5212
322.3857 | 29.5187 | 25.5287
323.7714 | 29.7182 | 25.5287
325.1571 | 29.7182 | 25.5287
326.5429 | 29.3192 | 25.5287
327.9286 | 29.3192 | 24.3317
329.3143 | 29.3192 | 24.3317
330.7 | 28.9202 | 25.7282
332.0857 | 28.9202 | 25.7282
333.4714 | 29.5187 | 25.1297
334.8571 | 39.2943 | 33.1097
336.2429 | 39.2943 | 33.7082
337.6286 | 39.2943 | 33.7082
339.0143 | 28.9202 | 25.9277
340.4 | 28.7207 | 25.7282
341.7857 | 28.3217 | 25.9277
343.1714 | 27.9227 | 25.5287
344.5571 | 27.7232 | 25.5287
345.9429 | 27.7232 | 25.5287
347.3286 | 26.1272 | 25.9277
348.7143 | 25.7282 | 25.9277
350.1 | 25.7282 | 25.9277
351.4857 | 36.9002 | 28.9202
352.8714 | 37.0998 | 28.9202
354.2571 | 24.9302 | 24.7307
355.6429 | 24.7307 | 24.7307
357.0286 | 24.9302 | 24.9302
358.4143 | 25.9277 | 25.1297
359.8 | 25.9277 | 25.7282
361.1857 | 24.5312 | 25.7282
362.5714 | 24.9302 | 25.3292
363.9571 | 25.1297 | 24.1322
365.3429 | 24.3317 | 24.7307
366.7286 | 37.2993 | 29.5187
368.1143 | 37.2993 | 30.1172
369.5 | 37.2993 | 30.1172
370.8857 | 23.3342 | 23.9327
372.2714 | 23.1347 | 22.7357
373.6571 | 23.1347 | 22.5362
375.0429 | 23.9327 | 21.5387
376.4286 | 23.9327 | 21.5387
377.8143 | 23.9327 | 20.3416
379.2 | 23.7332 | 20.7406
380.5857 | 23.9327 | 20.7406
381.9714 | 24.5312 | 21.7382
383.3571 | 30.1172 | 22.5362
384.7429 | 30.1172 | 22.5362
386.1286 | 22.7357 | 20.1421
387.5143 | 22.7357 | 20.3416
388.9 | 22.1372 | 20.5411
390.2857 | 22.1372 | 19.7431
391.6714 | 21.1397 | 19.3441
393.0571 | 21.3392 | 19.9426
394.4429 | 21.9377 | 19.9426
395.8286 | 22.1372 | 19.9426
397.2143 | 22.3367 | 20.1421
398.6 | 30.7157 | 28.1222
399.9857 | 30.9152 | 28.7207
401.3714 | 29.7182 | 28.7207
402.7571 | 22.7357 | 20.5411
404.1429 | 22.3367 | 20.7406
405.5286 | 22.7357 | 20.5411
406.9143 | 22.7357 | 20.7406
408.3 | 22.7357 | 20.7406
409.6857 | 22.7357 | 19.9426
411.0714 | 22.1372 | 19.9426
412.4571 | 21.5387 | 19.9426
413.8429 | 21.9377 | 20.1421
415.2286 | 28.7207 | 22.5362
416.6143 | 28.7207 | 22.5362
418 | 22.5362 | 21.5387
419.3857 | 22.5362 | 21.5387
420.7714 | 22.7357 | 20.5411
422.1571 | 22.7357 | 20.5411
423.5429 | 22.5362 | 20.5411
424.9286 | 22.5362 | 20.1421
426.3143 | 22.5362 | 20.1421
427.7 | 21.9377 | 20.5411
429.0857 | 22.7357 | 22.3367
430.4714 | 36.3017 | 31.1147
431.8571 | 36.1022 | 31.1147
433.2429 | 36.1022 | 25.5287
434.6286 | 22.9352 | 20.7406
436.0143 | 22.9352 | 20.9401
437.4 | 22.5362 | 21.5387
438.7857 | 22.7357 | 21.5387
440.1714 | 22.7357 | 20.9401
441.5571 | 22.5362 | 21.7382
442.9429 | 22.9352 | 21.7382
444.3286 | 23.7332 | 21.5387
445.7143 | 22.9352 | 21.5387
447.1 | 26.9252 | 22.1372
448.4857 | 26.9252 | 22.1372
449.8714 | 22.9352 | 22.1372
451.2571 | 22.9352 | 22.1372
452.6429 | 22.9352 | 21.7382
454.0286 | 22.9352 | 20.7406
455.4143 | 22.1372 | 21.5387
456.8 | 22.9352 | 22.3367
458.1857 | 22.9352 | 22.3367
459.5714 | 22.1372 | 22.1372
460.9571 | 23.1347 | 22.1372
462.3429 | 36.7007 | 30.5162
463.7286 | 36.7007 | 30.5162
465.1143 | 27.3242 | 24.9302
466.5 | 22.7357 | 22.1372
467.8857 | 23.5337 | 22.1372
469.2714 | 23.5337 | 22.1372
470.6571 | 22.1372 | 22.7357
472.0429 | 22.7357 | 22.7357
473.4286 | 22.7357 | 21.3392
474.8143 | 22.9352 | 21.7382
476.2 | 22.9352 | 21.9377
477.5857 | 22.9352 | 21.5387
478.9714 | 23.9327 | 22.7357
480.3571 | 23.9327 | 22.7357
481.7429 | 24.7307 | 21.7382
483.1286 | 24.7307 | 21.9377
484.5143 | 23.5337 | 21.9377
485.9 | 23.1347 | 21.3392
487.2857 | 23.1347 | 22.9352
488.6714 | 24.3317 | 23.3342
490.0571 | 24.3317 | 23.3342
491.4429 | 23.5337 | 22.3367
492.8286 | 22.5362 | 22.1372
494.2143 | 30.9152 | 27.7232
495.6 | 30.9152 | 27.7232
496.9857 | 23.1347 | 23.7332
498.3714 | 23.5337 | 22.7357
499.7571 | 23.5337 | 22.7357
501.1429 | 24.1322 | 22.9352
502.5286 | 22.9352 | 22.7357
503.9143 | 22.7357 | 22.3367
505.3 | 22.5362 | 23.5337
506.6857 | 22.5362 | 23.3342
508.0714 | 23.3342 | 22.1372
509.4571 | 23.9327 | 22.1372
510.8429 | 23.9327 | 22.9352
512.2286 | 23.9327 | 22.9352
513.6143 | 23.5337 | 22.7357
515 | 22.9352 | 22.7357
516.3857 | 23.7332 | 21.7382
517.7714 | 23.7332 | 22.3367
519.1571 | 23.7332 | 22.5362
520.5429 | 23.7332 | 22.5362
521.9286 | 23.7332 | 23.7332
523.3143 | 23.5337 | 23.7332
524.7 | 23.3342 | 22.5362
526.0857 | 28.5212 | 26.3267
527.4714 | 28.5212 | 26.3267
528.8571 | 23.3342 | 22.3367
530.2429 | 24.3317 | 22.3367
531.6286 | 24.3317 | 22.1372
533.0143 | 23.5337 | 22.5362
534.4 | 23.5337 | 22.5362
535.7857 | 23.5337 | 21.7382
537.1714 | 24.5312 | 21.5387
538.5571 | 24.5312 | 21.5387
539.9429 | 24.5312 | 22.1372
541.3286 | 24.5312 | 22.1372
542.7143 | 24.1322 | 22.3367
544.1 | 23.7332 | 22.1372
545.4857 | 22.7357 | 22.1372
546.8714 | 24.1322 | 22.1372
548.2571 | 24.1322 | 22.1372
549.6429 | 23.3342 | 22.7357
551.0286 | 23.7332 | 22.7357
552.4143 | 23.7332 | 22.3367
553.8 | 24.1322 | 21.7382
555.1857 | 24.7307 | 22.1372
556.5714 | 24.7307 | 22.1372
557.9571 | 29.3192 | 24.7307
559.3429 | 29.3192 | 24.5312
560.7286 | 24.1322 | 21.7382
562.1143 | 24.1322 | 21.7382
563.5 | 24.1322 | 22.3367
564.8857 | 24.1322 | 22.3367
566.2714 | 23.7332 | 22.3367
567.6571 | 24.1322 | 22.3367
569.0429 | 24.9302 | 21.5387
570.4286 | 24.9302 | 21.5387
571.8143 | 23.9327 | 21.5387
573.2 | 23.9327 | 22.3367
574.5857 | 24.5312 | 22.3367
575.9714 | 24.7307 | 22.5362
577.3571 | 24.7307 | 22.5362
578.7429 | 23.7332 | 21.3392
580.1286 | 23.7332 | 21.3392
581.5143 | 23.7332 | 22.1372
582.9 | 23.9327 | 22.1372
584.2857 | 24.1322 | 21.7382
585.6714 | 24.1322 | 21.9377
587.0571 | 23.7332 | 21.9377
588.4429 | 23.1347 | 21.7382
589.8286 | 30.3167 | 23.9327
591.2143 | 30.3167 | 23.9327
592.6 | 24.3317 | 21.7382
593.9857 | 24.3317 | 21.7382
595.3714 | 24.3317 | 21.7382
596.7571 | 23.7332 | 21.1397
598.1429 | 24.7307 | 21.5387
599.5286 | 24.7307 | 21.5387
600.9143 | 24.1322 | 21.3392
602.3 | 24.1322 | 21.5387
603.6857 | 24.1322 | 21.5387
605.0714 | 24.1322 | 21.5387
606.4571 | 27.1247 | 22.1372
607.8429 | 27.3242 | 22.1372
609.2286 | 24.9302 | 22.1372
610.6143 | 24.5312 | 22.1372
612 | 24.5312 | 22.3367
613.3857 | 25.3292 | 22.3367
614.7714 | 25.3292 | 22.1372
616.1571 | 24.3317 | 21.7382
617.5429 | 25.3292 | 21.7382
618.9286 | 25.3292 | 21.7382
620.3143 | 24.3317 | 21.3392
621.7 | 27.5237 | 22.5362
623.0857 | 27.5237 | 22.5362
624.4714 | 25.3292 | 22.7357
625.8571 | 25.3292 | 22.7357
627.2429 | 24.5312 | 22.1372
628.6286 | 24.7307 | 22.1372
630.0143 | 24.1322 | 22.1372
631.4 | 24.9302 | 22.1372
632.7857 | 25.1297 | 22.1372
634.1714 | 23.9327 | 22.7357
635.5571 | 25.3292 | 22.5362
636.9429 | 25.1297 | 22.3367
638.3286 | 27.3242 | 22.7357
639.7143 | 27.3242 | 22.9352
641.1 | 25.3292 | 22.5362
642.4857 | 25.1297 | 22.5362
643.8714 | 25.3292 | 22.3367
645.2571 | 25.3292 | 22.7357
646.6429 | 24.7307 | 22.9352
648.0286 | 24.9302 | 22.9352
649.4143 | 24.9302 | 22.7357
650.8 | 25.1297 | 22.7357
652.1857 | 25.1297 | 22.7357
653.5714 | 27.9227 | 24.3317
654.9571 | 27.9227 | 24.3317
656.3429 | 25.3292 | 22.3367
657.7286 | 24.9302 | 22.5362
659.1143 | 24.9302 | 23.3342
660.5 | 25.1297 | 23.3342
661.8857 | 25.1297 | 23.7332
663.2714 | 25.1297 | 23.9327
664.6571 | 26.7257 | 22.7357
666.0429 | 26.7257 | 22.7357
667.4286 | 26.3267 | 23.1347
668.8143 | 26.3267 | 23.1347
670.2 | 25.5287 | 23.3342
671.5857 | 25.5287 | 23.9327
672.9714 | 24.7307 | 23.9327
674.3571 | 25.3292 | 23.3342
675.7429 | 25.3292 | 23.1347
677.1286 | 25.3292 | 23.3342
678.5143 | 25.3292 | 23.9327
679.9 | 25.7282 | 23.9327
681.2857 | 25.7282 | 23.9327
682.6714 | 25.5287 | 24.3317
684.0571 | 26.1272 | 24.3317
685.4429 | 26.1272 | 23.9327
686.8286 | 25.3292 | 23.9327
688.2143 | 26.5262 | 24.7307
689.6 | 25.7282 | 24.7307
690.9857 | 25.7282 | 23.5337
692.3714 | 25.3292 | 23.7332
693.7571 | 25.5287 | 23.7332
695.1429 | 25.5287 | 23.9327
696.5286 | 25.7282 | 23.9327
697.9143 | 25.7282 | 24.5312
699.3 | 25.1297 | 24.5312
700.6857 | 25.5287 | 23.7332
702.0714 | 26.1272 | 23.7332
703.4571 | 26.3267 | 23.5337
704.8429 | 25.9277 | 24.7307
706.2286 | 25.5287 | 24.7307
707.6143 | 25.7282 | 24.7307
709 | 26.1272 | 24.3317
710.3857 | 26.1272 | 24.5312
711.7714 | 26.7257 | 24.7307
713.1571 | 26.7257 | 24.7307
714.5429 | 25.7282 | 24.7307
715.9286 | 27.1247 | 24.3317
717.3143 | 27.1247 | 24.5312
718.7 | 26.7257 | 24.9302
720.0857 | 26.3267 | 24.9302
721.4714 | 26.1272 | 24.7307
722.8571 | 26.3267 | 24.5312
724.2429 | 27.3242 | 25.3292
725.6286 | 27.3242 | 25.3292
727.0143 | 26.9252 | 25.1297
728.4 | 26.9252 | 25.1297
729.7857 | 26.9252 | 25.1297
731.1714 | 26.1272 | 25.1297
732.5571 | 25.9277 | 24.1322
733.9429 | 26.1272 | 24.3317
735.3286 | 27.3242 | 24.5312
736.7143 | 27.3242 | 24.5312
738.1 | 26.5262 | 24.3317
739.4857 | 26.3267 | 24.7307
740.8714 | 27.9227 | 24.7307
742.2571 | 27.9227 | 25.1297
743.6429 | 25.9277 | 25.1297
745.0286 | 27.3242 | 24.9302
746.4143 | 27.3242 | 25.9277
747.8 | 26.7257 | 25.3292
749.1857 | 27.3242 | 24.5312
750.5714 | 27.3242 | 25.1297
751.9571 | 27.5237 | 25.3292
753.3429 | 27.5237 | 25.3292
754.7286 | 27.1247 | 25.1297
756.1143 | 27.5237 | 24.9302
757.5 | 27.5237 | 25.1297
758.8857 | 27.1247 | 25.3292
760.2714 | 27.7232 | 25.7282
761.6571 | 27.7232 | 25.7282
763.0429 | 26.9252 | 26.1272
764.4286 | 27.1247 | 26.1272
765.8143 | 27.1247 | 25.7282
767.2 | 27.9227 | 25.5287
768.5857 | 28.1222 | 26.5262
769.9714 | 27.3242 | 26.5262
771.3571 | 27.3242 | 25.5287
772.7429 | 27.5237 | 25.5287
774.1286 | 27.5237 | 25.5287
775.5143 | 26.7257 | 25.7282
776.9 | 26.7257 | 25.9277
778.2857 | 27.5237 | 25.7282
779.6714 | 27.5237 | 26.1272
781.0571 | 28.1222 | 27.1247
782.4429 | 28.1222 | 27.1247
783.8286 | 27.7232 | 26.1272
785.2143 | 27.5237 | 25.7282
786.6 | 28.1222 | 25.9277
787.9857 | 28.1222 | 25.9277
789.3714 | 27.5237 | 25.7282
790.7571 | 27.5237 | 26.1272
792.1429 | 27.3242 | 26.1272
793.5286 | 27.7232 | 26.1272
794.9143 | 27.7232 | 26.1272
796.3 | 27.7232 | 26.7257
797.6857 | 27.7232 | 26.7257
799.0714 | 28.1222 | 26.7257
800.4571 | 27.5237 | 26.9252
801.8429 | 27.1247 | 26.1272
803.2286 | 28.3217 | 26.5262
804.6143 | 28.3217 | 26.5262
806 | 27.5237 | 26.7257
807.3857 | 28.3217 | 26.7257
808.7714 | 28.3217 | 26.9252
810.1571 | 28.3217 | 27.5237
811.5429 | 28.3217 | 27.5237
812.9286 | 28.3217 | 27.3242
814.3143 | 28.1222 | 27.1247
815.7 | 28.5212 | 27.1247
817.0857 | 28.5212 | 26.7257
818.4714 | 28.3217 | 26.7257
819.8571 | 28.3217 | 26.9252
821.2429 | 29.1197 | 27.9227
822.6286 | 29.1197 | 27.9227
824.0143 | 28.5212 | 27.1247
825.4 | 28.5212 | 27.1247
826.7857 | 28.7207 | 26.9252
828.1714 | 28.3217 | 27.1247
829.5571 | 28.3217 | 27.1247
830.9429 | 28.3217 | 27.1247
832.3286 | 29.1197 | 27.1247
833.7143 | 29.1197 | 26.7257
835.1 | 28.7207 | 35.5037
836.4857 | 28.7207 | 35.5037
837.8714 | 28.7207 | 26.9252
839.2571 | 32.3117 | 33.7082
840.6429 | 35.9027 | 37.6983
842.0286 | 35.9027 | 37.6983
843.4143 | 28.9202 | 27.3242
844.8 | 28.5212 | 26.9252
846.1857 | 28.3217 | 26.9252
847.5714 | 28.3217 | 26.9252
848.9571 | 28.3217 | 27.5237
850.3429 | 29.3192 | 28.1222
851.7286 | 29.5187 | 28.3217
853.1143 | 28.5212 | 27.9227
854.5 | 28.3217 | 27.5237
855.8857 | 28.1222 | 27.3242
857.2714 | 28.1222 | 27.3242
858.6571 | 29.7182 | 27.9227
860.0429 | 29.9177 | 27.9227
861.4286 | 28.5212 | 27.9227
862.8143 | 28.5212 | 27.7232
864.2 | 29.9177 | 27.5237
865.5857 | 29.9177 | 27.7232
866.9714 | 30.1172 | 27.9227
868.3571 | 29.5187 | 28.5212
869.7429 | 29.5187 | 28.7207
871.1286 | 29.5187 | 28.7207
872.5143 | 29.1197 | 27.9227
873.9 | 29.5187 | 28.1222
875.2857 | 29.5187 | 29.1197
876.6714 | 29.3192 | 29.1197
878.0571 | 29.5187 | 27.9227
879.4429 | 29.5187 | 27.9227
880.8286 | 29.3192 | 27.9227
882.2143 | 29.3192 | 28.7207
883.6 | 29.1197 | 28.7207
884.9857 | 30.3167 | 28.7207
886.3714 | 30.3167 | 27.5237
887.7571 | 29.7182 | 28.7207
889.1429 | 29.7182 | 28.7207
890.5286 | 29.3192 | 28.5212
891.9143 | 29.1197 | 28.3217
893.3 | 28.9202 | 28.9202
894.6857 | 28.9202 | 28.9202
896.0714 | 30.1172 | 28.7207
897.4571 | 30.1172 | 27.7232
898.8429 | 29.1197 | 28.1222
900.2286 | 28.7207 | 28.7207
901.6143 | 28.9202 | 28.9202
903 | 29.3192 | 28.3217
904.3857 | 29.7182 | 28.5212
905.7714 | 29.7182 | 28.9202
907.1571 | 29.7182 | 28.9202
908.5429 | 30.3167 | 28.9202
909.9286 | 30.3167 | 28.7207
911.3143 | 30.1172 | 28.5212
912.7 | 29.7182 | 28.3217
914.0857 | 30.1172 | 28.3217
915.4714 | 30.1172 | 28.5212
916.8571 | 30.1172 | 28.7207
918.2429 | 30.1172 | 29.1197
919.6286 | 30.5162 | 29.1197
921.0143 | 30.5162 | 29.1197
922.4 | 29.3192 | 29.1197
923.7857 | 30.7157 | 28.9202
925.1714 | 30.7157 | 28.1222
926.5571 | 29.5187 | 28.1222
927.9429 | 30.1172 | 28.1222
929.3286 | 30.1172 | 28.9202
930.7143 | 30.1172 | 28.9202
932.1 | 31.5137 | 29.1197
933.4857 | 29.9177 | 28.9202
934.8714 | 29.9177 | 28.9202
936.2571 | 29.9177 | 29.5187
937.6429 | 30.7157 | 29.5187
939.0286 | 30.7157 | 29.3192
940.4143 | 30.9152 | 29.9177
941.8 | 30.9152 | 29.9177
943.1857 | 31.5137 | 29.9177
944.5714 | 31.5137 | 29.5187
945.9571 | 30.9152 | 29.1197
947.3429 | 30.9152 | 31.9127
948.7286 | 30.1172 | 31.7132
950.1143 | 30.1172 | 29.3192
951.5 | 30.1172 | 30.3167
952.8857 | 30.9152 | 30.3167
954.2714 | 31.1147 | 31.1147
955.6571 | 30.5162 | 31.3142
957.0429 | 30.5162 | 29.1197
958.4286 | 30.5162 | 29.1197
959.8143 | 30.7157 | 29.1197
961.2 | 30.5162 | 28.7207
962.5857 | 30.7157 | 28.9202
963.9714 | 30.7157 | 29.7182
965.3571 | 31.3142 | 30.1172
966.7429 | 31.3142 | 30.1172
968.1286 | 31.1147 | 30.3167
969.5143 | 31.3142 | 30.3167
970.9 | 31.5137 | 30.5162
972.2857 | 31.5137 | 30.7157
973.6714 | 30.7157 | 30.7157
975.0571 | 30.9152 | 29.9177
976.4429 | 30.9152 | 29.5187
977.8286 | 30.7157 | 30.9152
979.2143 | 30.7157 | 30.9152
980.6 | 31.3142 | 29.5187
981.9857 | 31.5137 | 30.1172
983.3714 | 31.5137 | 30.5162
984.7571 | 30.7157 | 30.7157
986.1429 | 30.7157 | 29.9177
987.5286 | 30.7157 | 30.1172
988.9143 | 30.7157 | 30.3167
990.3 | 31.5137 | 30.1172
991.6857 | 31.5137 | 30.1172
993.0714 | 31.5137 | 29.7182
994.4571 | 30.7157 | 29.9177
995.8429 | 30.9152 | 30.5162
997.2286 | 31.7132 | 30.7157
998.6143 | 31.7132 | 29.7182
1000 | 30.5162 | 30.3167
Note on C1: Peter Berquist: dBuV/m
Note on B1: Peter Berquist: dBuV/m

## Quasi-Peak Table
EMI Test Lab | [5 empty] | Sheet4
1822 Skyway Drive, Unit J, Longmont Co Dennis King dennis@emitestlab.com , Cell 303-746-0611
Frequency | F.S. EUT | Limit | Azimuth | Height | Antenna Polarization | Limit delta
(MHz) | (dBuV/m) | (dBuV/m) | Degrees | Meters | H or V | dBuV
463.981 | 30.72 | 57 | 0 | 1.4 | V | -26.28
843.316 | 24.3 | 57 | 64 | 1.4 | V | -32.7
50.541 | 24.95 | 50 | 152 | 1.4 | V | -25.05
271.976 | 32.65 | 57 | 172 | 1.4 | V | -24.35
149.754 | 29.45 | 50 | 236 | 1.4 | V | -20.55
431.97 | 30.1 | 57 | 344 | 1.4 | V | -26.9
335.984 | 36.45 | 57 | 356 | 1.4 | V | -20.55
335.987 | 40.47 | 57 | 0 | 1.4 | H | -16.53
149.704 | 36.72 | 50 | 116 | 1.4 | H | -13.28
367.991 | 37.52 | 57 | 152 | 1.4 | H | -19.48
256 | 37.35 | 57 | 172 | 1.4 | H | -19.65
431.983 | 38.35 | 57 | 176 | 1.4 | H | -18.65
223.989 | 35.85 | 50 | 256 | 1.4 | H | -14.15
463.99 | 29.15 | 57 | 304 | 1.4 | H | -27.85
50.457 | 24.3 | 50 | 340 | 1.4 | H | -25.7
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
Note on F4: Antenna Polarization-Horizontal or Vertical
Note on B5: Measurement Parameters: Location=EMI Test Lab 3 M Chamber Receiver=Advantest R3361A Ser.Num.=01730556 Amplifier=Miteq Amp-1381 Detector=01730556 Antennas=Com-Power AB-900, AL-100 Time Date=Thu 05/Nov/2015 12:28:40
Note on B6: Measurement Parameters: Location=EMI Test Lab 3 M Chamber Receiver=Advantest R3361A Ser.Num.=01730556 Amplifier=Miteq Amp-1381 Detector=01730556 Antennas=Com-Power AB-900, AL-100 Time Date=Thu 05/Nov/2015 12:28:40
Note on B7: Measurement Parameters: Location=EMI Test Lab 3 M Chamber Receiver=Advantest R3361A Ser.Num.=01730556 Amplifier=Miteq Amp-1381 Detector=01730556 Antennas=Com-Power AB-900, AL-100 Time Date=Thu 05/Nov/2015 12:28:40
Note on B8: Measurement Parameters: Location=EMI Test Lab 3 M Chamber Receiver=Advantest R3361A Ser.Num.=01730556 Amplifier=Miteq Amp-1381 Detector=01730556 Antennas=Com-Power AB-900, AL-100 Time Date=Thu 05/Nov/2015 12:28:41
Note on B9: Measurement Parameters: Location=EMI Test Lab 3 M Chamber Receiver=Advantest R3361A Ser.Num.=01730556 Amplifier=Miteq Amp-1381 Detector=01730556 Antennas=Com-Power AB-900, AL-100 Time Date=Thu 05/Nov/2015 12:28:41
Note on B10: Measurement Parameters: Location=EMI Test Lab 3 M Chamber Receiver=Advantest R3361A Ser.Num.=01730556 Amplifier=Miteq Amp-1381 Detector=01730556 Antennas=Com-Power AB-900, AL-100 Time Date=Thu 05/Nov/2015 12:28:41
Note on B11: Measurement Parameters: Location=EMI Test Lab 3 M Chamber Receiver=Advantest R3361A Ser.Num.=01730556 Amplifier=Miteq Amp-1381 Detector=01730556 Antennas=Com-Power AB-900, AL-100 Time Date=Thu 05/Nov/2015 12:28:41
Note on B12: Measurement Parameters: Location=EMI Test Lab 3 M Chamber Receiver=Advantest R3361A Ser.Num.=01730556 Amplifier=Miteq Amp-1381 Detector=QP Antennas=Com-Power AB-900, AL-100 Time Date=Thu 05/Nov/2015 12:34:32
Note on B13: Measurement Parameters: Location=EMI Test Lab 3 M Chamber Receiver=Advantest R3361A Ser.Num.=01730556 Amplifier=Miteq Amp-1381 Detector=QP Antennas=Com-Power AB-900, AL-100 Time Date=Thu 05/Nov/2015 12:34:32
Note on B14: Measurement Parameters: Location=EMI Test Lab 3 M Chamber Receiver=Advantest R3361A Ser.Num.=01730556 Amplifier=Miteq Amp-1381 Detector=QP Antennas=Com-Power AB-900, AL-100 Time Date=Thu 05/Nov/2015 12:34:32
Note on B15: Measurement Parameters: Location=EMI Test Lab 3 M Chamber Receiver=Advantest R3361A Ser.Num.=01730556 Amplifier=Miteq Amp-1381 Detector=QP Antennas=Com-Power AB-900, AL-100 Time Date=Thu 05/Nov/2015 12:34:32
Note on B16: Measurement Parameters: Location=EMI Test Lab 3 M Chamber Receiver=Advantest R3361A Ser.Num.=01730556 Amplifier=Miteq Amp-1381 Detector=QP Antennas=Com-Power AB-900, AL-100 Time Date=Thu 05/Nov/2015 12:34:32
Note on B17: Measurement Parameters: Location=EMI Test Lab 3 M Chamber Receiver=Advantest R3361A Ser.Num.=01730556 Amplifier=Miteq Amp-1381 Detector=QP Antennas=Com-Power AB-900, AL-100 Time Date=Thu 05/Nov/2015 12:34:32
Note on B18: Measurement Parameters: Location=EMI Test Lab 3 M Chamber Receiver=Advantest R3361A Ser.Num.=01730556 Amplifier=Miteq Amp-1381 Detector=QP Antennas=Com-Power AB-900, AL-100 Time Date=Thu 05/Nov/2015 12:34:32
Note on B19: Measurement Parameters: Location=EMI Test Lab 3 M Chamber Receiver=Advantest R3361A Ser.Num.=01730556 Amplifier=Miteq Amp-1381 Detector=QP Antennas=Com-Power AB-900, AL-100 Time Date=Thu 05/Nov/2015 12:34:33